## Guidance
How to Complete the Ynni Cymru Grant Cost and Benefits Schedule
Completion and submission of this Cost and Benefits Schedule is mandatory. Failure to provide complete and accurate information may result in your application being rejected or penalised.
The Cost and Benefits Schedule sets out your project budget and key impacts in detail — what you will spend, on what technologies, and the energy and carbon impacts expected from the project. It enables us to assess the robustness, eligibility and value for money of your proposal.
What Is the Cost and Benefits Schedule?
The Cost and Benefits Schedule is a structured breakdown of your total project costs and expected benefits. It: Lists the technologies and measures included in your Smart Local Energy System (SLES) Identifies the energy sources being replaced or displaced Shows the new energy sources introduced by the project Calculates expected financial savings and carbon savings The schedule therefore links project costs, energy impacts, and carbon reductions in a consistent way.
Worked Examples
Two worked examples are provided in the tabs labelled Example_Single Site and Example_Multiple-Site. These examples are illustrative only and are intended to help you understand how to structure and complete the schedule. The organisations, technologies, costs and savings shown in the examples are fictional. Your application must reflect your actual project. Include every relevant technology and cost element in your proposal and break these down clearly by site, building and technology where appropriate.
1. Organisational Details
List the lead organisation and any partner organisations involved in delivering the SLES. Partners are organisations formally involved in project delivery and governance. Do not include contractors, consultants, suppliers or organisations engaged solely through procurement. Ensure all listed organisations have an organisation type selected.
2. Project Measures & Cost and Benefits Schedule
Break down each measure by building and/or site where applicable. For each technology, such as Solar PV, ASHP, EV charging, please include all associated costs, such as capital equipment, installation and commissioning as one project measure. For wider project costs, such as enabling works, design & feasibility and project management, we would like one line for each of the relevant total project costs. See Example_Single Site
Energy Inputs and Outputs
The spreadsheet captures how energy use changes as a result of the project. For each technology you will enter the following. Please refer to the section on Inputting Rules for Common Technologies below for particular systems, such as solar PV and batteries: Pre-SLES Energy Type The energy source currently used before the project (for example grid electricity, natural gas, diesel). Baseline Energy Demand The annual demand for that energy source before the measure is implemented. Pre-SLES Energy Displaced The amount of that energy expected to be reduced or replaced by the measure. Post-SLES Energy Type The energy source supplying the service after the measure is implemented. Post-SLES Energy Input The increase in demand for the new energy source caused by the measure. This structure allows the model to calculate net energy change and carbon savings automatically.
Technology Requirements
Each technology entry must include: • a defined capacity (size) • estimated annual financial savings Providing this information allows the model to automatically calculate: • simple payback • £/kW value for money • RAG value-for-money status • annual carbon savings
RAG Value-for-Money Indicator
The RAG Status column provides an indication of value for money based on £/kW benchmarks. Green indicates costs are within the expected range. Amber indicates costs are higher or lower than expected and may require justification. Red indicates unusually high or unusually low £/kW costs and should be reviewed and explained. These benchmarks are indicative and may vary depending on project context.
Compliance Check
The Compliance column automatically checks that required fields have been completed. Rows with missing or inconsistent information will display an error message. These should be resolved before submission.
Inputting Rules for Common Technologies
Heat Pumps Enter heat pumps on one row where possible. Enter the baseline heat demand, the gas displaced, and the additional electricity required by the heat pump. Example: Pre-SLES energy type: Natural Gas Post-SLES energy type: Electricity Combined Heat and Power (CHP) For technologies with multiple outputs, such as hydrogen fuel cell CHP, use separate rows for each displaced energy type. Enter the capital cost once only. The fuel input (for example hydrogen consumption) should only be entered once. Example: Row 1 – electricity displaced Row 2 – gas or heat displaced Solar PV and Battery Storage Exported grid electricity energy usually does not count towards building carbon savings unless the programme explicitly counts exported decarbonisation. Exported energy is not captured in this table as it is not considered a site carbon saving. Enter the annual energy displaced from grid electricity based on on-site consumption (self-consumption). For Solar PV, this should reflect the electricity used on site rather than total generation. For battery storage, enter only the additional renewable electricity used on site due to storage. Do not duplicate electricity already counted under Solar PV. Where supplier quotes provide self-consumption estimates (e.g. before and after battery installation), use these to split the values. For example, if Solar PV alone results in 30% self-consumption and this increases to 70% with a battery system, enter 30% under Solar PV and the additional 40% under battery storage. See Example Single and Multi Site.
Smart Monitoring and Metering Smart monitoring systems typically improve operational efficiency and system performance. Enter these under the relevant category. Energy savings may be estimated rather than directly calculated. But this will need to be justified in the application form. Enabling Costs and Design Design work, feasibility studies and enabling works should be entered as separate measures where appropriate. In each case as a single line for the whole project costs (e.g. all project enabling costs on one line). These costs may not have direct energy savings but are required to deliver the project.
3. Totals for the assessment form - Automated
This summary table is automatically generated from the data entered in the Project Measures and Cost and Benefits Schedule. Applicants must use these figures when completing the financial sections of the application form. The table shows: • total eligible project costs • required match funding • VAT totals • grant request amounts (including and excluding VAT) • total annual carbon savings Applicants are responsible for ensuring that: • all cost inputs in the schedule are accurate and complete • VAT has been entered correctly for each cost line • the correct grant request figure (including or excluding VAT) is used in the application form If VAT is recoverable it should not be included in the grant request. If VAT is non-recoverable it may be included where eligible under the scheme rules. Please review all totals carefully before submission.
Final Checks Before Submission
✔ Ensure all relevant project costs are listed under the correct category.
✔ Confirm that unit costs and quantities are accurate.
✔ Double-check VAT entries—some costs may be VAT-exempt.
✔ Review the automatically calculated totals at the bottom to ensure all figures are correct before submission.
✔ Save the file as YourProjectName_Cost_and_Benefits_Schedule.xlsx and upload it as part of your application.

## Applicant Input
Cost and Benefits Breakdown
Cells to be completed | Cells Automated
Organisational Details
Please list the lead applicant and all partner organisations.
Application Structure Check: | Error: A Lead Applicant must be listed and have an Organisation Type.
Organisation | Organisation Type | Applicant/Partners
Totals for the assessment form - Automated
This table is automatically generated from the data entered below. Applicants should use these figures in the application and ensure all inputs are correct.
| Total Cost | Description
Total Eligible Project Cost (excl. VAT) | 0 | Sum of all eligible capital costs entered in the cost schedule, excluding VAT.
Total Eligible Project Cost (Incl. VAT) | 0 | Sum of all eligible capital costs entered in the cost schedule, including VAT.
VAT | 0 | Total VAT associated with eligible project costs.
Match Funding (excl. VAT) | Select Org Type in table above | Applicant contribution required based on organisation type, if VAT is recoverable
Match Funding (incl. VAT) | Select Org Type in table above | Applicant contribution required based on organisation type, if VAT is not recoverable
Solar Capital Cost – Non-Grant Funded | 0 | Portion of solar capital costs that are not eligible for grant funding.
Total Grant Request (excl. VAT) | Missing values, could not calculate | Total grant funding requested excluding VAT, after match funding deductions. Max request = £999,999.99
Total Grant Request (inc. VAT) | Missing values, could not calculate | Total grant funding requested, including VAT, after match funding deductions. Max request = £999,999.99
Total Annual Carbon Saved (tCO2) | 0 | Estimated annual carbon savings based on projected energy impacts and fuel factors.
Project Measures & Cost and Benefits Schedule
Enter breakdown of project measures, capital costs, and energy savings.
Warning Notes: | No Warnings
Site/Building | Project Measure | Pre-SLES Energy Type | Baseline Energy (Pre-SLES Energy Type) Demand (kWh/year) | Pre-SLES Energy Type Displaced (kWh/year) | Post-SLES Energy Type | Post-SLES Energy input (kWh/year) | Comments | Size (kW/kWp/kWh/m²/litres/m³) | Size (Numerical Value Only) | Cost (£) | VAT (£) | Total Cost (automated) | VAT (%) (automated) | Projected Annual Savings (£) | Organisation Responsible for Delivery (CAPEX administered by Lead Applicant) | £/Size | RAG Status | Annual Carbon Savings (tCO₂e, calculated) | Compliance | Compliance | Capital Equipment / Building | Building/ Energy Pre-Type | Building/ Energy Post-Type
Guidance Note: Identify the site or building where the measure will be installed. Use separate rows for each building if the project covers multiple sites. | Guidance Note: Choose the measure or technology being implemented (e.g. Solar PV, ASHP, EV chargers). | Guidance Note: Select the existing energy source being reduced or displaced by the measure. | Guidance Note: Enter the total annual demand for the selected Pre-SLES energy type at this site/ building before the measure is implemented. | Guidance Note: Enter the annual amount of Pre-SLES energy expected to be displaced/reduced by this measure. | Guidance Note: Select the energy source used after this measure is implemented | Guidance Note: Enter the annual increase in use for the selected Post-SLES energy type resulting in this measure. Only enter once, don't double count. | Guidance Note: Provide brief clarification where needed such as rooftop installation, replacing an existing gas boiler, or a ground-mounted system. | Guidance Note: Enter installed capacity or size using a numeric value with unit such as 250 kW, 120 kWp, or 500 m². Use kW or kWp for power or thermal, kWh for storage, m² for area, and litres or m³ for volume. Do not use MW. | Guidance Note: Hidden column used for internal calculations. | Guidance Note: Enter total cost of measure excluding VAT. Only enter once, don't double count. | Guidance Note: Enter the VAT amount associated with this measure if applicable. Only enter once, don't double count. | Guidance Note: Automatically calculated as Cost plus VAT. | Guidance Note: Automatically calculated as Cost plus VAT. | Guidance Note: Enter estimated annual financial savings or benefits resulting from this measure. | Guidance Note: Identify which organisation will fund and deliver the capital works. | Guidance Note: Automatically calculated cost per unit capacity such as £ per kW. | Guidance Note: Automatically generated value-for-money rating based on cost benchmarks. Cells are greyed out where no benchmark exists. | Guidance Note: Estimated annual carbon savings calculated using standard fuel emission factors. | Guidance Note: Automatically validates that required fields are completed. Rows with missing mandatory information will display an error message. | Guidance Note: Automatically validates that required fields are completed. Rows with missing mandatory information will display an error message. | Guidance Note: Hidden column used for internal grouping of capital equipment by building. | Guidance Note: Hidden column used for internal grouping of energy type by building. | Guidance Note: Hidden column used for internal grouping of energy type by building.
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
Solar Payback Calculations
Calculation of simple payback for Solar PV and determination of the maximum eligible grant based on the 10-year funding rule.
| Total Cost | Description
Eligible Solar PV capital costs | 0 | Total eligible capital expenditure attributed to Solar PV measures including VAT (excluding ineligible elements).
Solar PV savings | 0 | Estimated annual financial savings generated by the Solar PV system.
Calculated simple payback | 0 | Simple payback period calculated as Eligible Capital Cost ÷ Annual Financial Savings.
Payback beyond 10 years: | 0 | Portion of the simple payback period that exceeds the 10-year funding eligibility threshold.
The proportion of costs attributable beyond year 10 is: | 0% | Percentage of total capital cost associated with benefits occurring after year 10.
The maximum eligible grant for Solar PV is therefore: | 0 | Maximum grant support permitted for Solar PV based on the 10-year eligibility rule.
Solar Capital Cost – Non-Grant Funded | 0 | Portion of Solar PV capital cost that must be funded through match or other non-grant sources.

## Assessor Outputs (hidden)
For Assessor eyes only
Cost Breakdown
| Total Eligible Project Cost (excl. VAT) | 0 | 100%
| Total Capex Costs (excl. VAT) | 0 | #DIV/0!
| Total Enabling Costs (excl. VAT) | 0 | #DIV/0!
| Total Projects Management Costs (excl. VAT) | 0 | #DIV/0!
| Total Design Costs (excl. VAT) | 0 | #DIV/0!
| Other Costs (excl. VAT) | 0 | #DIV/0!
| VAT | 0 | #DIV/0!
Energy type summary
|  | Baseline (kWh) | Saving | New Baseline
| Electricity (incl. T&D) | 0 | 0 | 0
| Electricity (renewable - grid) | 0 | 0 | 0
| Electricity (renewable - site) | 0 | 0 | 0
| Natural Gas | 0 | 0 | 0
| Gas Oil | 0 | 0 | 0
| Fuel Oil | 0 | 0 | 0
| LPG | 0 | 0 | 0
| Diesel (average biofuel blend) | 0 | 0 | 0
| Petrol (average biofuel blend) | 0 | 0 | 0
| Wood logs | 0 | 0 | 0
| Wood chips | 0 | 0 | 0
| Wood pellets | 0 | 0 | 0
| Biogas | 0 | 0 | 0
| Green Hydrogen (Renewables - site) | 0 | 0 | 0
| Green Hydrogen (Renewables - off site) | 0 | 0 | 0
| Green Hydrogen (Grid) | 0 | 0 | 0
Capital Equipment Summary Table - Automated
This table groups measures by building/site and sums their total capacities and costs.
| Grouped Capital Equipment/ Building | Cost (£) | Total inc. VAT | Cost Split | Annual Financial Savings (£) | Payback in Years
| Total: | 0 | 0 |  | 0
| - | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
|  | 0 | 0 | #DIV/0! | 0
Overall savings be energy type within building or site
| Energy/ Building or site | Energy | Baseline Energy Demand (kWh/year) | Annual Energy Displaced / Generated (kWh) | Post-SLES Energy input (kWh/year) | New Baseline Energy Demand (kWh/year) | Annual Carbon Savings (tCO₂e, calculated)
| - | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0

## Aux_2 (hidden)
RAG Table £/kW
Project type | Energy | kg CO2e | Category | RED < (£) | RED > (£) | Amber Max (£) | Amber Min (£) | Green Max (£) | Green Min (£) | Match Funding | Level |  | Capital Equipment/ Building
Solar PV | Electricity (incl. T&D) | 0.19553 | Solar PV | 1200 | 2800 | 2800 | 2000 | 2000 | 1300 | Public Sector | 25% |  | -
Hydro | Electricity (renewable - grid) | 0.01853 | Wind turbine | 700 | 2500 | 2500 | 1500 | 1500 | 800 | Social Enterprise | 0%
Wind turbine | Electricity (renewable - site) | 0 | Air Source Heat Pump (ASHP) | 400 | 1800 | 1800 | 1200 | 1200 | 600 | Community Organisation | 0%
Anaerobic digestion | Natural Gas | 0.18296 | Ground Source Heat Pump (GSHP) | 900 | 3000 | 3000 | 2000 | 2000 | 1200 | SME | 25%
Other renewable generation | Gas Oil | 0.2565 | Water Source Heat Pump (WSHP) | 800 | 2800 | 2800 | 1800 | 1800 | 1000
Air Source Heat Pump (ASHP) | Fuel Oil | 0.26813 | Electric vehicle chargers (per kW) | 350 | 1200 | 1200 | 800 | 800 | 400
Ground Source Heat Pump (GSHP) | LPG | 0.2145 | Battery energy storage (Lithium) | 500 | 2000 | 2000 | 1200 | 1200 | 600 | Lead Applicant | #N/A | #N/A
Water Source Heat Pump (WSHP) | Diesel (average biofuel blend) | 0.24411 | Disclude
Heat pump (other) | Petrol (average biofuel blend) | 0.21956 | Battery energy storage (Other)
Heat network infrastructure | Wood logs | 0.0115 | Hydro
Solar thermal | Wood chips | 0.0115 | Anaerobic digestion
Heat recovery systems | Wood pellets | 0.0115 | Heat network infrastructure
Other low carbon heating or cooling | Biogas | 0.00022 | Air conditioning
Electric vehicle chargers | Green Hydrogen (Renewables - site) | 0 | Solar thermal
Green hydrogen production for transportation | Green Hydrogen (Renewables - off site) | 0.026471 | Heat recovery systems
Electric bike or scooter chargers | Green Hydrogen (Grid) | 0.27933 | Other low carbon heating or cooling
Other ultra low emission transportation |  |  | Green hydrogen production for transportation
Battery energy storage (Lithium) |  |  | Electric bike or scooter chargers
Thermal energy storage systems |  |  | Other ultra low emission transportation
Battery energy storage (Other) |  |  | Thermal energy storage systems
Storage heating systems |  |  | Storage heating systems
Other energy storage |  |  | Other energy storage
Building management systems (BMS) |  |  | Building management systems (BMS)
Smart monitoring |  |  | Smart grid monitoring
Smart metering |  |  | Smart metering
Battery monitoring systems |  |  | Battery monitoring systems (eg. Solar Edge)
Other Smart System |  |  | Other Smart System
Design |  |  | Whole System
Enabling Measures |  |  | Other ultra low emission transportation
Project Management
Other
Note on I1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Check with internal handbook

## Example_Single Site
Cost and Benefits Breakdown
Cells to be completed | Cells Automated
Organisational Details
Please list the lead applicant and all partner organisations.
Application Structure Check: | Table is filled out correctly
Organisation | Organisation Type | Applicant/Partners
AB Community Trust | Community Organisation | Lead Applicant
Totals for the assessment form - Automated
This table is automatically generated from the data entered below. Applicants should use these figures in the application and ensure all inputs are correct.
| Total Cost | Description
Total Eligible Project Cost (excl. VAT) | 600000 | Sum of all eligible capital costs entered in the cost schedule, excluding VAT.
Total Eligible Project Cost (Incl. VAT) | 716000 | Sum of all eligible capital costs entered in the cost schedule, including VAT.
VAT | 116000 | Total VAT associated with eligible project costs.
Match Funding (excl. VAT) | Select Org Type in table above | Applicant contribution required based on organisation type, if VAT is recoverable
Match Funding (incl. VAT) | Select Org Type in table above | Applicant contribution required based on organisation type, if VAT is not recoverable
Solar Capital Cost – Non-Grant Funded | 180000 | Portion of solar capital costs that are not eligible for grant funding.
Total Grant Request (excl. VAT) | Missing values, could not calculate | Total grant funding requested excluding VAT, after match funding deductions. Max request = £999,999.99
Total Grant Request (inc. VAT) | Missing values, could not calculate | Total grant funding requested, including VAT, after match funding deductions. Max request = £999,999.99
Total Annual Carbon Saved (tCO2) | 18.8614 | Estimated annual carbon savings based on projected energy impacts and fuel factors.
Project Measures & Cost and Benefits Schedule
Enter breakdown of project measures, capital costs, and energy savings.
Warning Notes: | No Warnings
Site/Building | Project Measure | Pre-SLES Energy Type | Baseline Energy (Pre-SLES Energy Type) Demand (kWh/year) | Pre-SLES Energy Type Displaced (kWh/year) | Post-SLES Energy Type | Post-SLES Energy input (kWh/year) | Comments | Size (kW/kWp/kWh/m²/litres/m³) | Size (Numerical Value Only) | Cost (£) | VAT (£) | Total Cost (automated) | VAT (%) (automated) | Projected Annual Savings (£) | Organisation Responsible for Delivery (CAPEX administered by Lead Applicant) | £/Size | RAG Status | Annual Carbon Savings (tCO₂e, calculated) | Compliance | Compliance | Capital Equipment / Building | Building/ Energy Pre-Type | Building/ Energy Post-Type
Guidance Note: Identify the site or building where the measure will be installed. Use separate rows for each building if the project covers multiple sites. | Guidance Note: Choose the measure or technology being implemented (e.g. Solar PV, ASHP, EV chargers). | Guidance Note: Select the existing energy source being reduced or displaced by the measure. | Guidance Note: Enter the total annual demand for the selected Pre-SLES energy type at this site/ building before the measure is implemented. | Guidance Note: Enter the annual amount of Pre-SLES energy expected to be displaced/reduced by this measure. | Guidance Note: Select the energy source used after this measure is implemented | Guidance Note: Enter the annual increase in use for the selected Post-SLES energy type resulting in this measure. Only enter once, don't double count. | Guidance Note: Provide brief clarification where needed such as rooftop installation, replacing an existing gas boiler, or a ground-mounted system. | Guidance Note: Enter installed capacity or size using a numeric value with unit such as 250 kW, 120 kWp, or 500 m². Use kW or kWp for power or thermal, kWh for storage, m² for area, and litres or m³ for volume. Do not use MW. | Guidance Note: Hidden column used for internal calculations. | Guidance Note: Enter total cost of measure excluding VAT. Only enter once, don't double count. | Guidance Note: Enter the VAT amount associated with this measure if applicable. Only enter once, don't double count. | Guidance Note: Automatically calculated as Cost plus VAT. | Guidance Note: Automatically calculated as Cost plus VAT. | Guidance Note: Enter estimated annual financial savings or benefits resulting from this measure. | Guidance Note: Identify which organisation will fund and deliver the capital works. | Guidance Note: Automatically calculated cost per unit capacity such as £ per kW. | Guidance Note: Automatically generated value-for-money rating based on cost benchmarks. Cells are greyed out where no benchmark exists. | Guidance Note: Estimated annual carbon savings calculated using standard fuel emission factors. | Guidance Note: Automatically validates that required fields are completed. Rows with missing mandatory information will display an error message. | Guidance Note: Automatically validates that required fields are completed. Rows with missing mandatory information will display an error message. | Guidance Note: Hidden column used for internal grouping of capital equipment by building. | Guidance Note: Hidden column used for internal grouping of energy type by building. | Guidance Note: Hidden column used for internal grouping of energy type by building.
Community Hall | Design | [5 empty] | Detailed design for PV and BESS systems |  |  | 8000 | 1600 | 9600 | 20% |  | AB Community Trust |  |  |  | OK | OK | Design - Community Hall | - Community Hall | - Community Hall
Community Hall | Enabling Measures | [5 empty] | Electrical upgrade and roof reinforcement |  |  | 12000 | 2400 | 14400 | 20% |  | AB Community Trust |  |  |  | OK | OK | Enabling Measures - Community Hall | - Community Hall | - Community Hall
Community Hall | Solar PV | Electricity (incl. T&D) | 120000 | 26280 | Electricity (renewable - site) | 0 | Rooftop installation, south-facing | 100 kW | 100 | 150000 | 30000 | 180000 | 20% | 7621 | AB Community Trust | 1800 | Green | 5.1385 | OK | OK | Solar PV - Community Hall | Electricity (incl. T&D) - Community Hall | Electricity (renewable - site) - Community Hall
Community Hall | Battery energy storage (Lithium) | Electricity (incl. T&D) | 120000 | 34040 | Electricity (renewable - site) | 0 | Co-located with Solar PV system | 200 kWh | 200 | 400000 | 80000 | 480000 | 20% | 9871.6 | AB Community Trust | 2400 | Red | 6.6558 | OK | OK | Battery energy storage (Lithium) - Community Hall | Electricity (incl. T&D) - Community Hall | Electricity (renewable - site) - Community Hall
Community Hall | Smart metering | [5 empty] | Smart meter installation for monitoring |  |  | 5000 | 1000 | 6000 | 20% |  | AB Community Trust |  |  |  | OK | OK | Smart metering - Community Hall | - Community Hall | - Community Hall
Community Hall | Project Management | [5 empty] | 5% of total CAPEX for project management |  |  | 5000 | 1000 | 6000 | 20% |  | AB Community Trust |  |  |  | OK | OK | Project Management - Community Hall | - Community Hall | - Community Hall
Community Hall | Air Source Heat Pump (ASHP) | Natural Gas | 60000 | 60000 | Electricity (incl. T&D) | 20000 | ASHP | 19kW | 19 | 20000 | 0 | 20000 | 0% | 5000 | AB Community Trust | 1052.6316 | Green | 7.067 | OK | OK | Air Source Heat Pump (ASHP) - Community Hall | Natural Gas - Community Hall | Electricity (incl. T&D) - Community Hall
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
Solar Payback Calculations
Calculation of simple payback for Solar PV and determination of the maximum eligible grant based on the 10-year funding rule.
| Total Cost | Description
Eligible Solar PV capital costs | 180000 | Total eligible capital expenditure attributed to Solar PV measures including VAT (excluding ineligible elements).
Solar PV savings | 7621 | Estimated annual financial savings generated by the Solar PV system.
Calculated simple payback | 23.6189 | Simple payback period calculated as Eligible Capital Cost ÷ Annual Financial Savings.
Payback beyond 10 years: | 13.6189 | Portion of the simple payback period that exceeds the 10-year funding eligibility threshold.
The proportion of costs attributable beyond year 10 is: | 57.66% | Percentage of total capital cost associated with benefits occurring after year 10.
The maximum eligible grant for Solar PV is therefore: | 0 | Maximum grant support permitted for Solar PV based on the 10-year eligibility rule.
Solar Capital Cost – Non-Grant Funded | 180000 | Portion of Solar PV capital cost that must be funded through match or other non-grant sources.

## Example_Multi Site
Cost and Benefits Breakdown
Cells to be completed | Cells Automated
Organisational Details
Please list the lead applicant and all partner organisations.
Application Structure Check: | Table is filled out correctly
Organisation | Organisation Type | Applicant/Partners
AB Energy Solutions Ltd | SME | Lead Applicant
CD Renewable Energy Ltd | SME | Partner
EF Community Energy CIC | Community Organisation | Partner
Totals for the assessment form - Automated
This table is automatically generated from the data entered below. Applicants should use these figures in the application and ensure all inputs are correct.
| Total Cost | Description
Total Eligible Project Cost (excl. VAT) | 1229000 | Sum of all eligible capital costs entered in the cost schedule, excluding VAT.
Total Eligible Project Cost (Incl. VAT) | 1474000 | Sum of all eligible capital costs entered in the cost schedule, including VAT.
VAT | 245000 | Total VAT associated with eligible project costs.
Match Funding (excl. VAT) | Select Org Type in table above | Applicant contribution required based on organisation type, if VAT is recoverable
Match Funding (incl. VAT) | Select Org Type in table above | Applicant contribution required based on organisation type, if VAT is not recoverable
Solar Capital Cost – Non-Grant Funded | 360000 | Portion of solar capital costs that are not eligible for grant funding.
Total Grant Request (excl. VAT) | Missing values, could not calculate | Total grant funding requested excluding VAT, after match funding deductions. Max request = £999,999.99
Total Grant Request (inc. VAT) | Missing values, could not calculate | Total grant funding requested, including VAT, after match funding deductions. Max request = £999,999.99
Total Annual Carbon Saved (tCO2) | 42.3104 | Estimated annual carbon savings based on projected energy impacts and fuel factors.
Project Measures & Cost and Benefits Schedule
Enter breakdown of project measures, capital costs, and energy savings.
Helper Notes: | No Warnings
Site/Building | Project Measure | Pre-SLES Energy Type | Baseline Energy (Pre-SLES Energy Type) Demand (kWh/year) | Pre-SLES Energy Type Displaced (kWh/year) | Post-SLES Energy Type | Post-SLES Energy input (kWh/year) | Comments | Size (kW/kWp/kWh/m²/litres/m³) | Size (Numerical Value Only) | Cost (£) | VAT (£) | Total Cost (automated) | VAT (%) (automated) | Projected Annual Savings (£) | Organisation Responsible for Delivery (CAPEX administered by Lead Applicant) | £/Size | RAG Status | Annual Carbon Savings (tCO₂e, calculated) | Compliance | Compliance | Capital Equipment / Building | Building/ Energy Pre-Type | Building/ Energy Post-Type
Guidance Note: Identify the site or building where the measure will be installed. Use separate rows for each building if the project covers multiple sites. | Guidance Note: Choose the measure or technology being implemented (e.g. Solar PV, ASHP, EV chargers). | Guidance Note: Select the existing energy source being reduced or displaced by the measure. | Guidance Note: Enter the total annual demand for the selected Pre-SLES energy type at this site/ building before the measure is implemented. | Guidance Note: Enter the annual amount of Pre-SLES energy expected to be displaced/reduced by this measure. | Guidance Note: Select the energy source used after this measure is implemented | Guidance Note: Enter the annual increase in use for the selected Post-SLES energy type resulting in this measure. Only enter once, don't double count. | Guidance Note: Provide brief clarification where needed such as rooftop installation, replacing an existing gas boiler, or a ground-mounted system. | Guidance Note: Enter installed capacity or size using a numeric value with unit such as 250 kW, 120 kWp, or 500 m². Use kW or kWp for power or thermal, kWh for storage, m² for area, and litres or m³ for volume. Do not use MW. | Guidance Note: Hidden column used for internal calculations. | Guidance Note: Enter total cost of measure excluding VAT. Only enter once, don't double count. | Guidance Note: Enter the VAT amount associated with this measure if applicable. Only enter once, don't double count. | Guidance Note: Automatically calculated as Cost plus VAT. | Guidance Note: Automatically calculated as Cost plus VAT. | Guidance Note: Enter estimated annual financial savings or benefits resulting from this measure. | Guidance Note: Identify which organisation will fund and deliver the capital works. | Guidance Note: Automatically calculated cost per unit capacity such as £ per kW. | Guidance Note: Automatically generated value-for-money rating based on cost benchmarks. Cells are greyed out where no benchmark exists. | Guidance Note: Estimated annual carbon savings calculated using standard fuel emission factors. | Guidance Note: Automatically validates that required fields are completed. Rows with missing mandatory information will display an error message. | Guidance Note: Automatically validates that required fields are completed. Rows with missing mandatory information will display an error message. | Guidance Note: Hidden column used for internal grouping of capital equipment by building. | Guidance Note: Hidden column used for internal grouping of energy type by building. | Guidance Note: Hidden column used for internal grouping of energy type by building.
Leisure Centre | Solar PV | Electricity (incl. T&D) | 120000 | 26280 | Electricity (renewable - site) | 0 | Rooftop installation, south-facing | 100 kW | 100 | 150000 | 30000 | 180000 | 20% | 7621 | AB Energy Solutions Ltd | 1800 | Green | 5.1385 | OK | OK | Solar PV - Leisure Centre | Electricity (incl. T&D) - Leisure Centre | Electricity (renewable - site) - Leisure Centre
Leisure Centre | Battery energy storage (Lithium) | Electricity (incl. T&D) | 120000 | 34040 | Electricity (renewable - site) | 0 | Co-located with Solar PV system | 200 kWh | 200 | 400000 | 80000 | 480000 | 20% | 9871.6 | AB Energy Solutions Ltd | 2400 | Red | 6.6558 | OK | OK | Battery energy storage (Lithium) - Leisure Centre | Electricity (incl. T&D) - Leisure Centre | Electricity (renewable - site) - Leisure Centre
Leisure Centre | Other low carbon heating or cooling | Electricity (incl. T&D) | 120000 | 20000 | Green Hydrogen (Renewables - site) | 50000 | Hydrogen fuel cell CHP - Electricity output from hydrogen fuel cell CHP | 20 kW | 20 | 500000 | 100000 | 600000 | 20% | 9800 | AB Energy Solutions Ltd | 30000 |  | 3.9106 | OK | OK | Other low carbon heating or cooling - Leisure Centre | Electricity (incl. T&D) - Leisure Centre | Green Hydrogen (Renewables - site) - Leisure Centre
Leisure Centre | Other low carbon heating or cooling | Natural Gas | 60000 | 20000 | Green Hydrogen (Renewables - site) |  | Hydrogen fuel cell CHP - thermal output | 20 kW | 20 |  |  |  |  | 9800 | AB Energy Solutions Ltd | 0 |  | 3.6592 |  | OK | Other low carbon heating or cooling - Leisure Centre | Natural Gas - Leisure Centre | Green Hydrogen (Renewables - site) - Leisure Centre
Leisure Centre | Air Source Heat Pump (ASHP) | Natural Gas | 60000 | 60000 | Electricity (incl. T&D) | 20000 | ASHP | 18kW | 18 | 4000 | 0 | 4000 | 0% | 1000 | AB Energy Solutions Ltd | 222.2222 | Red | 7.067 | OK | OK | Air Source Heat Pump (ASHP) - Leisure Centre | Natural Gas - Leisure Centre | Electricity (incl. T&D) - Leisure Centre
Community Centre | Electric vehicle chargers | Diesel (average biofuel blend) | 25000 | 25000 | Electricity (renewable - site) | 25000 | EV charging replaces diesel cars | 22kW | 22 | 25000 | 5000 | 30000 | 20% | 2000 | CD Renewable Energy Ltd | 1363.6364 |  | 6.1028 | OK | OK | Electric vehicle chargers - Community Centre | Diesel (average biofuel blend) - Community Centre | Electricity (renewable - site) - Community Centre
Community Centre | Solar PV | Electricity (incl. T&D) | 50000 | 50000 | Electricity (renewable - site) | 0 | Ground mounted solar | 100kW | 100 | 150000 | 30000 | 180000 | 20% | 1000 | CD Renewable Energy Ltd | 1800 | Green | 9.7765 | OK | OK | Solar PV - Community Centre | Electricity (incl. T&D) - Community Centre | Electricity (renewable - site) - Community Centre
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
[21 empty] | - | - | -
Solar Payback Calculations
Calculation of simple payback for Solar PV and determination of the maximum eligible grant based on the 10-year funding rule.
| Total Cost | Description
Eligible Solar PV capital costs | 360000 | Total eligible capital expenditure attributed to Solar PV measures including VAT (excluding ineligible elements).
Solar PV savings | 8621 | Estimated annual financial savings generated by the Solar PV system.
Calculated simple payback | 41.7585 | Simple payback period calculated as Eligible Capital Cost ÷ Annual Financial Savings.
Payback beyond 10 years: | 31.7585 | Portion of the simple payback period that exceeds the 10-year funding eligibility threshold.
The proportion of costs attributable beyond year 10 is: | 76.05% | Percentage of total capital cost associated with benefits occurring after year 10.
The maximum eligible grant for Solar PV is therefore: | 0 | Maximum grant support permitted for Solar PV based on the 10-year eligibility rule.
Solar Capital Cost – Non-Grant Funded | 360000 | Portion of Solar PV capital cost that must be funded through match or other non-grant sources.