## Disclaimer
The Welsh Government Energy Service (“WGES”) is funded by the Welsh Government with the aim of developing energy efficiency and renewable energy projects that contribute to public sector decarbonisation and national energy targets. The WGES is delivered by the Carbon Trust, Energy Saving Trust and Local Partnerships (the “Delivery Partners”). This report (the “Report”) has been produced by the Delivery Partners and, whilst the views expressed in it are given in good faith based on information available at the date of this Report:- (i) these views do not necessarily reflect the views of the Welsh Government, which accepts no liability for any statement or opinion expressed in the Report; (ii) the Report is intended to provide general guidance only, rather than financial, legal or technical advice for the purposes of any particular project or other matter, and no-one in receipt of the Report should place any reliance on it in substitution for obtaining their own advice from an appropriate third party advisor; and (iii) any person in receipt of this Report should therefore obtain their own financial, legal, technical and/or other relevant professional advice insofar as they require specific guidance on what action (if any) to take, or refrain from taking, in respect of any project, initiative, proposal, involvement with any partnership or other matter to which information contained in the Report may be relevant; and (iv) the Delivery Partners accept no liability in respect of the Report, or for any statement in the Report and/or any error or omission relating to the Report.

## Use
This is an example inventory sheet. It is intended for use as a starting point, to support an organisation to build a live asset register of renewable electricity generating stations across their estate. Other fields of information could be added to assist with managing the assets, such as the name and contact details of the O&M provider, the last date and next date of statutory testing, etc. Users may wish to change the format to suit their own systems. A live asset register/inventory reflects the status of renewable generation assets. It enables the efficient management of assets and informs development of further assets, forecasting electricity spend, and managing electrical demand across an estate.

## ExampleInventorySheet
What is it? |  | A diagram which illustrates the electrical design of the building or buildings. | A meter measuring, recording and communicating data to an electricity Supplier's data collector each half hour. | A 13-digit numeric identifying the location of an Electricity Supply Point meter. This can refer to the import or export of electricity to or from the network and is stated on the electricity supply or purchase invoice related to the supply point. If it is unclear which MPAN is assigned to import and export, contact your Electricity Supplier. | A combination of letters and numbers unique to each electricity meter. The MSN is printed on the meter itself and stated on the electricity supply or purchase invoice related to the supply point. | Half hourly or non-half hourly | Total kilowatt hours (kWhs) measured since the meter was installed |  | The electrical load capability of the building's Electricity Supply Point (kilo volt amperes (kVA)). | Maximum total kilowatts of electrical demand in any half-hourly period from electrical plant in the building or buildings. | Total electricity consumed in 12 month period | A meter measuring, recording and communicating data to an electricity Supplier's data collector each half hour. | A 13-digit numeric identifying the location of an Electricity Supply Point meter. This can refer to the import or export of electricity to or from the network and is stated on the electricity supply or purchase invoice related to the supply point. If it is unclear which MPAN is assigned to import and export, contact your Electricity Supplier. | A combination of letters and numbers unique to each electricity meter. The MSN is printed on the meter itself and stated on the electricity supply or purchase invoice related to the supply point. | Half hourly or non-half hourly | Total kWhs measured since the meter was installed |  | Maximum total kilowatts of electrical export to the grid in any half-hourly period. | The electrical load capability of the building's Electricity Supply Point (kilo volt amperes kVA). | Total electricity exported in 12 month period | Describe the technology e.g. rooftop solar PV | This states key performance measurements and certifies correct installation. | Operating status: Fully functioning/Partly functioning/Status Unknown | This evidences all plant has completed statutory testing. In the entry field note which statutory testing is certified as up to date and which is not. | The total electrical generation capability of the solar panels (kilowatts). | The total electrical capacity of the inverters (kilowatts). | The electrical generation capability of the solar electrical system (kilowatts). This may be the inverter kilowatt capacity rather than the kilowatt capacity of the solar panels. | Total electricity the system installed is expected to generate in a 12 month period. | A diagram, issued post-installation, which illustrates how the solar plant and meters interface with the electrical design of the building. | A meter measuring, recording and communicating data to a data collector or monitoring platform each half hour. The meter must be compliant with the Measuring Instruments Directive. | A combination of letters and numbers unique to each electricity meter. The MSN is printed on the meter itself and stated on the electricity supply or purchase invoice related to the supply point. | The period of time that lapses between each measurement of generation. | Total Whs or kWhs measured since the meter was installed |  | The building may have an existing software platform enabling users to monitor the performance of multiple elements of mechanical, electrical and environmental systems. You may wish to add sensors to collect import, export and generation half-hourly meter data into your existing BMS/EMS. | Physical media to transmit data from meters and measuring and monitoring devices. These could be cabled or wireless. | The hierarchy of the building's use of electricity is almost always; first, self-consumption of generation, second, use of surplus electricity generated by the solar panels and stored in the battery (if a battery is present), third, import from the grid. This is because the greatest financial value of rooftop solar generation is in avoiding purchasing power for the grid. | kilowatt (kW) capacity of battery | kilowatt hour(kWh) capacity of battery | Date of commissioning | Operating status: Fully functioning/Partly functioning/Status Unknown | A description of where on site the battery is located.
Where can I find it? |  | Estate management/building management. | This is at the main electricity meter from the network into the building/site. | Electricity supply invoice/grid connection agreement. | This is printed on the main electricity meter. | A Supply Number is stated on each Electricity Supply invoice. After the 'S' the following numbers signify a half-hourly fiscal meter: 00,05,06,07 and 08. (See SupplyNumberDiagram tab for a illustration). | On the meter display panel |  | Grid Connection Agreement or Offer/ energy manager/ electricity supply invoice/building design. | Historic meter data or Electricity Supply Invoice | Electricity Supplier/ Electricity Supply Invoice or power purchase invoice/ Data Collector/Meter Operator | This is at the main electricity meter from the network into the building/site. | Electricity supply invoice/power purchase invoice/grid connection agreement. | This is printed on the export electricity meter. | A Supply Number is stated on each Electricity Supply invoice. After the 'S' the following numbers signify a half-hourly fiscal meter: 00,05,06,07 and 08. | On the meter display panel |  | Historic meter data or Electricity Supply or Purchase invoice. | Grid Connection Agreement or Offer/ energy manager/ electricity supply invoice/building design. | Electricity Supplier/ Electricity Supply Invoice or power purchase invoice/ Data Collector/Meter Operator | Electricity Supplier/ Electricity Supply Invoice or power purchase invoice/ Data Collector/Meter Operator | Operation and Maintenance Manual | Remotely via a solar monitoring system, BMS, or analysed generation meter. On site with the advice of an electrician. | Operation and Maintenance Manual | Installation/commissioning pack. Estate management/building management. | Installation/commissioning pack. Estate management/building management. | Installation/commissioning pack. Estate management/building management. | When your rooftop solar array is installed, the installation or commissioning contractor will provide documentation which will state how many kilowatt hours will be generated each year. | Operation and Maintenance Manual | Usually situated at the solar inverter. | This is printed on the export electricity meter. | Remote solar monitoring system platform or Data Collector platform or BMS. | On the meter display panel |  | Estate management/building management. | Estate management/building management/ telecoms invoices. | This is visually described in the Electrical design /Single line diagram (SLD). The solar array installer or an electrician will be able to interpret this for the owner. | Written on the battery, on the installation certificate or warranty or technical specification. | Written on the battery, on the installation certificate or warranty or technical specification. | Installation or commissioning certificate | Remotely via a monitoring system, BMS, or EMS. On site with the advice of an electrician. | Site visit
| Location |  | Import | [8 empty] | Export | [8 empty] | Generating Station | [16 empty] | Battery Storage
Input Value Format | Text | Text | Text | Numeric | Numeric | Text | kilowatt hours (kWhs) | Date | (kilo volt amperes) kVA | kilowatts (kWs) | kWhs | Text | Numeric | Numeric | Text | kilowatt hours (kWhs) | Date | kW | kVA | kWhs | Text | Date | Text | Text | kW | kW | kW | kWhs | Text | Text | Numeric | Numeric | kWhs | Date | Text | Text | Text | Text | Text | Date of installation | Text | Text
| Site Name and Address | Electrical design /Single line diagram (SLD) present? | Import Meter Location | Meter Point Administration Number (MPAN) | Meter Serial Number (MSN) | Meter reading interval HH or NHH | Cumulative Meter Read | Date of Cumulative Meter Read | Import Capacity | Maximum Demand | Annual consumption | Export Meter Location | Meter Point Administration Number (MPAN) | Meter Serial Number (MSN) | Meter reading interval HH or NHH | Cumulative Meter Read | Date of Cumulative Meter Read | Maximum Export | Export Capacity | Annual export | Renewable Generating Station technology | Date of commissioning or installation certificate/s | Operating status: Fully functioning/Partly functioning/Status Unknown | System Testing Certificate/s |  |  | Performance benchmark: Generation capacity | Performance benchmark: Expected Annual Generation | Electrical design / Single line diagram (SLD) | Generation Meter Location | Meter Serial Number (MSN) | Meter reading interval: 5-min, 10-min etc | Cumulative Meter Read | Date of Cumulative Meter Read | Energy Management System (EMS) / Building Management System (BMS) | Telecoms services | Hierarchy of electricity use | kilowatt (kW) capacity of battery | kilowatt hour(kWh) capacity of battery | Date of installation | Operating status: Fully functioning/Partly functioning/Status Unknown | Battery location
Example input | Coedcae School, Brecon Road, Pontypool. PO5 0DE | An SLD is saved in the O&M manual on site. However it is 'design' diagram rather than 'as built. | To the left of the door into the plant room. | 2100023569823 | K35391 | HH | 723560 | 2025-03-12 | unknown | 62 | 23569 | To the left of the door into the plant room. | 2100023569824 | K35391 | HH | 23540 | 2025-03-12 | 13 | unknown | 1987 | Rooftop solar PV | 2019-02-10 | Partly functioning - 1 inverter is not working | Testing certificates present for installation of plant only. | 40 | 38 | 38 | 36582 | Yes | Situated above the caretaker's store cupboard | TK 1259 | 5-min | 182190 | 2025-03-12 | EMS and BMS present but generation meter is not connected. | SIM Card for mobile network. Service provider is O2. School is the bill payer. | Onsite first, then export to grid. | 10kW | 50kWhs | 2024-05-03 | Appears to be fully functioning as it was fully charged at site visit. | To the left of the door into the plant room. | Example input

## SupplyNumberDiagram
Profile Class Identification